## Slide 1
Predictive Maintenance in Solar Power Systems

## Slide 2: Introduction
Problem: Solar power plants face inefficiencies due to unexpected equipment failures.
Solution: AI-driven predictive maintenance to enhance performance and reduce downtime.

## Slide 3: Problem Statement
Large solar farms require efficient maintenance to prevent power losses.Traditional maintenance schedules can lead to over-maintenance or under-maintenance.Predictive maintenance leverages AI to forecast failures before they occur.

## Slide 4: Real-Life Example
Case: A solar farm in California experienced frequent inverter failures. Impact: 15% reduction in power output during peak hours. Solution: Machine learning algorithms were used to analyze sensor data. Outcome: 30% reduction in downtime, increased energy production, and reduced maintenance costs

## Slide 5: Dataset Overview
Sensor Data Includes: Temperature Voltage Current Historical maintenance records
Objective: Predict inverter failures based on historical and real-time data.

## Slide 6: Key features for predicting failures
Temperature: High values may indicate overheating. Voltage & Current: Abnormal readings signal component degradation. Weather Conditions: External factors influencing inverter efficiency. Historical Maintenance Data: Identifying recurring issues. Operational Time: Identifying patterns in component wear.

## Slide 7: Machine Learning Model Development
Data Preprocessing: Handling missing values, outliers, and normalization. Feature Engineering: Rolling averages, lag features, and historical trends. Model Selection: Random Forest XGBoost LSTM for time-series analysis Evaluation Metrics: Precision, Recall, F1-score, ROC-AUC.

## Slide 8: Improving Model Accuracy
Feature Selection & Engineering: Using SHAP values for feature importance. Hyperparameter Tuning: Grid Search & Bayesian Optimization. Anomaly Detection: Autoencoders or Isolation Forests for rare failures. Ensemble Learning: Combining models for better predictive performance.

## Slide 9: Actions on failure prediction
Automated Alerts: Notify maintenance teams proactively. Preventive Repairs: Schedule maintenance before failure occurs. Real-time Monitoring: Adjust operations dynamically to reduce strain. Supply Chain Readiness: Ensure spare parts availability.

## Slide 10: Sustainability and Waste Reduction
Efficiency Improvement: Reduces energy losses and increases power output. Resource Optimization: Minimizes unnecessary maintenance costs. Extended Equipment Lifespan: Reduces e-waste from frequent replacements. Lower Carbon Footprint: Enhances the effectiveness of renewable energy systems.

## Slide 11: Conclusion
AI-driven predictive maintenance is crucial for optimizing solar power systems. Helps in reducing downtime, improving efficiency, and lowering costs. Contributes to sustainability by reducing waste and enhancing resource utilization.